130 E. 1st Street

P. O. Box 229

Tifton, Georgia  31793

# ELECTED OFFICIALS:

JULIE B. SMITH

MAYOR

JOSH REYNOLDS

VICE MAYOR

DISTRICT 1

MICHAEL FRANKS

DISTRICT 2

LESTER CROMER, JR.

DISTRICT 3

M. JAY HALL

DISTRICT 4

LARRY LAWRENCE

ACTING CITY MANAGER

March 27, 2025

# THE CITY OF TIFTON WATER QUALITY REPORT-2024 GA2770001

The Tifton Tift County Water Department is extremely proud to inform you that your drinking water did not have any violations of water quality parameters during 2024.  This report is to furnish you information about where your water comes from, what it contains, and how it meets the standards set by regulatory agencies.  The Tifton/Tift County Water Department is committed to providing its community with clean, safe and reliable drinking water for all.

Your water comes from eight- (8) municipal groundwater Wells, which draw water from the Floridian Aquifer.   The City adds fluoride, chlorine and phosphate to the water.  The Council meetings are held once a month and information about water quality, if any, is discussed with the public at this time.   The City of Tifton “Wellhead Protection Plan” has a State Susceptibility Ranking of low.  For a map of these Well locations, or if you need more information about your water or this report, please feel free to contact the Utilities Department at (229) 391-3949.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the EPA’s Safe Drinking Water Hotline (1-800-426-4791) or online at www.epa.gov/safewater.

Some people may be more vulnerable to contaminants in drinking water than the general population. Immune-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly and infants can be particularly at   risk from infections.  These people should seek advice about drinking water from their health care providers.   EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline at (1-800-426-4791) or online at www.epa.gov/safewater.

In order to ensure your tap water is safe to drink, EPA has regulations, which limits the amount of contamination in water provided by public water systems.  Attached is a list of all contaminants that were detected in our drinking water during 2024.  The presence of these contaminants does not indicate that the water poses a health risk.

Terms & Abbreviations used below:

Ppb: micrograms per liter or parts per billion – or one ounce in 7,350,000 gallons of water

ppm: milligrams per liter or parts per million – or one ounce in 7,350 gallons of water.

MCL: Maximum Contaminant Level – the highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs.

MCLG: Maximum Contaminant Level Goal – the level of a contaminant in drinking

water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

AL: Action Level- the concentration level which if exceeded triggers treatment.

## Regulated Substances

### Parameter       MCL       MCLG      Amount Detected    Year        Violation  	 Probable / Typical Source

Chlorine (ppm)            4                4           1.94                 2024           No           Water additive used for disinfection

Fluoride (ppm)            4                4            1.45                2024            No       Water additive that promotes Strong teeth

Total   Trihalomethanes

(TTHMs) (ppb)         80         N/A              7.8                2024           No     Byproduct of drinking water disinfection

Haloacetic Acids      60      N/A                3.8                2024          No    Byproduct of drinking water disinfection

(HAA) (ppb)

Total Xylenes (ppm) 10.0         10.0           0.0030          2024          No       Solvent used in thinning of paint

1,2,4 Trimethylbenzene N/A  N/A         0.00091           2024            No      Solvent used in thinning of paint

(mg/l)

Bromodichloromethane (mg/l)  N/A-N/A   0.0026          2024            No      Solvent used in thinning of paint

Dibromochloromethane (mg/l)  N/A-N/A   0.0017         2024            No      Solvent used in thinning of paint

Total Coliform           2                0             1               2024          No     naturally present in the Environment

Barium (ppm)           2                2           0.20            2024           No    Erosion of natural deposits.

Nitrate                     10             10           0.33            2024           No    Runoff from fertilizer use, Erosion of

Natural deposits

## Lead and Copper

### Parameter                AL        MCLG           Amount Detected    Year        Violation  	 Probable / Typical Source

Copper (ppm)          1.3              1.3           0.520/90%          2022    No   Corrosion of household plumbing Systems

Lead (ppm)            0.015            0             0.0011/90 %          2022    No    Corrosion of household plumbing Systems

Radioactive Contaminants

Combined Radium         5               0           2.97               2024           No              Erosion of natural deposits.

226/228

(pCi/l)

Gross Alpha                15               0           11.3                2024           No              Erosion of natural deposits.

Excluding radon and uranium

(pCi/l)

The EPD and EPA require us to test the drinking water on a regular basis to ensure its safety.  The City of Tifton

would like to assure its water customers that the water they are drinking is tested more times than required

and meets all prescribed regulations.

Lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. Tifton Tift County Water Department is responsible for providing high quality drinking water and removing lead pipes, but cannot control the variety of materials used in plumbing components in your home. You share the responsibility for protecting yourself and your family from the lead in your home plumbing. You can take responsibility by identifying and removing lead materials within your home plumbing and taking steps to reduce your family’s risk. Before drinking tap water, flush your pipes for several minutes by running your tap, taking a shower, doing laundry or a load of dishes. You can also use a filter certified by an American National Standards Institute accredited certifier to reduce lead in drinking water. If you are concerned about lead in your water and wish to have your water tested, contact Tifton Tift County Water Department and Adam Cobb ]. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available at http://www.epa.gov/safewater/lead.

Lead and Copper Range Data.

| Analyte | Date Sampled | MCLG | Action Level (AL) | Range |  | Units | Violation |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Low | High |  |  |
| Lead | 7/25/22 | 0 | 15 | 0.00 | 15.0 | ppb | No |
| Copper | 7/25/22 | 1.3 | 1.3 | 0.031 | 0.62 | ppm | No |

To access all individual Lead Tap Sample results for  Tifton-Tift County Water System                           They are available for review in customer service at city hall_                                                                                     130 E. 1st Street___________________________________________________________________

________________________________________________________________________

The Service Line Inventory (SLI) is a requirement under the Lead and Copper Rule Revisions (LCRR) to help water systems identify and replace lead service lines. It mandates that all public water systems develop and maintain an inventory of service line materials to assess the presence of lead and protect public health. The inventory will support proactive lead reduction efforts and ensure compliance with regulatory requirements to minimize lead exposure in drinking water.

To access the SLI for __Tifton-Tift County Water System___________________                                      _They are available for review in customer service at city hall _                                                                            _130 E. 1st Street_______________________________________________________________